SECTION 02 32 00
GEOTECHNICAL INVESTIGATION

# BASED ON DFD MASTER SPECIFICATION DATED 11/21/13

This section has been written to cover most (but not all) situations that you will encounter.  Depending on the requirements of your specific project, you may have to add material, delete items, or modify what is currently written.  The Division of Facilities Development expects changes and comments from you.

If a geotechnical investigation was completed, include the entire geotechnical report to allow review by the bidder.  The A/E's technical specifications and design should reflect the recommendations of the geotechnical report, where applicable.

If no geotechnical investigation was completed, state this in Part 1 - General of this section.

This section may also be used to specify any subsurface investigations required to be performed by the Contractor as part of his contract.

# PART 1 - GENERAL

# SCOPE

This section provides information resulting from subsurface investigations completed at the site as part of this project.  This section may contain information applicable to ALL sitework, and other technical specification sections, as well.  All Contractors are expected to review this information as part of their duties to familiarize themselves with the site.

Results of the geotechnical investigation apply only to the locations at which data was collected, at the specific time it was collected.  Geotechnical conditions may differ elsewhere on the site.

Prior to making additional investigations of his own using test pits, borings, or other methods; Bidder shall first gain permission from property owner and DFD Project Manager.  Geotechnical investigations completed by Bidder shall comply with all applicable requirements of Division 01 through Division 33 of this project.

RELATED WORK

Applicable provisions of Division 01 govern work under this Section.

00 00 00 – (Section Title)

00 00 00 – (Section Title)

# PART 2 - MATERIALS

# Not used.

# PART 3 - EXECUTION

# Not used.

# END OF SECTION