SECTION 07 53 23.02.01

ETHYLENE-PROPYLENE-DIENE TERPOLYMER ROOFING (EPDM) – HOOK & LOOP

BASED ON DFD MASTER SPECIFICATION DATED (12/10/2025)

NOTE: This section is an auxiliary section, subsidiary to the DFD 07 53 23.02 Master Specification, for adhered EPDM roofing projects that are considered critical and have incurred prolonged weather conditions where the working temperature will be below 32-degrees (32°) Fahrenheit.

PART 1 – GENERAL

SCOPE

This Section consists of providing all labor, material, equipment, and supervision necessary to provide a weather and watertight roof system with a hook & loop EPDM roof system complete, in place, as shown on the drawings and specified herein.

PART 1 – GENERAL

Scope – Reference section 07 53 23.02

Related Sections – Reference section 07 53 23.02

Reference Standards

Definitions

Guarantee / Warranty

State of Wisconsin Guarantee

Elastic Sheet Membrane Manufacturer Warranty

Quality Assurance

Work Sequence

Job Conditions

Delivery, Storage, and Handling

Submittals

Installation Meetings – Reference section 07 53 23.02

PART 2 – PRODUCTS

Performance Requirements

Manufacturers and Materials

Elastic Sheet Membrane

Thermal Barrier – Reference section 07 53 23.02

Vapor Retarder – Reference section 07 53 23.02

Insulation

Cover Board – Reference section 07 53 23.02 and Insulation section herein

Miscellaneous – Reference section 07 53 23.02

PART 3 – EXECUTION

Examination

Site Condition

Substrate Preparation

Installation of Thermal Barrier – Reference section 07 53 23.02

Installation of Vapor Retarder – Reference section 07 53 23.02

Installation of Insulation System / Composite Coverboard

Installation of Roof Membrane

Installation of Roof Flashings

Installation of Roof Drain Flashing and Components

Flashing of Pipe Clusters and Unusually Shaped Penetrations – Reference section 07 53 23.02

Miscellaneous – Reference section 07 53 23.02

Workmanship

Cleaning

RELATED SECTIONS

Applicable provisions of Division 01shall govern work under this Section.

07 53 23.02 – Ethylene-Propylene-Diene Terpolymer Roofing (EPDM) - ADHERED

Reference STANDARDS

ASHRAE – Current addition adopted by the State of Wisconsin

ANSI / SPRI FX-1 2021; Standard Test Procedure for Determining the Withdrawal Resistance of Roofing Fasteners, or equivalent test procedure.

ANSI / SPRI – ANSI SPRI IA-1 2021; Standard Field Test Procedure for Verifying the Suitability of Roof Substrates and Adhesive, or equivalent test procedure.

ASTM C1289 – Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board

ASTM-D6294 – Standard Test Method for Corrosion Resistance of Ferrous Metal Fastener Assemblies Used in Roofing and Waterproofing

ASTM D4637 – Vulcanized Rubber Sheet used in Single Ply Roof Membrane.

Factory Mutual (FM) – 4470 Examination Standard for Single-Ply, Polymer-Modified Bitumen Sheet, Built-Up Roof (BUR), and LAR, for Use in Class 1and Noncombustible Roof Deck Construction

NRCA - Roofing and Waterproofing Manual, 2023

NRCA – Guidelines for Rooftop-mounted Photovoltaic Systems, Second Edition, 2018

International Building Code (IBC) – Current addition adopted by the State of Wisconsin

International Energy Conservation Code (IECC) – Current addition adopted by the State of Wisconsin

SMACNA – Architectural Sheet Metal Manual, current edition

Underwriters Laboratory (UL) – Fire Hazard Classifications

DEFINITIONS

Manufacturer:

Manufacturer and Suppliers are used interchangeably and are the company that assembles the various material products for installation of the Roof System.

Roof Assembly:

A system designed to provide weather protection and resistance to design loads. The system consists of a roof covering and roof deck or a single component serving as both the roof covering and the roof deck. A roof assembly can include an underlayment, a thermal barrier, insulation, and/or a vapor retarder.

Roof Covering:

The covering applied for weather resistance, fire classification or appearance.

Roof Deck:

The flat or sloped surface constructed on top of the exterior walls of a building or other supports for the purpose of enclosing the story below, or sheltering an area, to protect it from the elements, not including its supporting members or vertical supports.

Roof System:

A system designed to be weatherproof and improve building thermal resistance. A roof system consists of a roof covering and other interacting roofing components and may include a vapor retarder, thermal barrier, insulation or other similar substrate. The system does not include the roof deck unless it is part of a single component serving as the roof covering and the roof deck.

SME:

Subject Matter Expert. Division of Facility Development’s (DFD) designated expert concerning technical matters specific to building envelope / roofing.

Roofing System Contractor:

The Manufactures approved and authorized Contractor installing the Roof System Components included in the Elastic Sheet Membrane Warranty.

Guarantee / Warranty

The following information shall be included on all guarantee and warranty documents:

State of Wisconsin Agency, city or township, street address where work is performed, building name, DFD project number, all roof areas involved (denoted by letter or number) as indicated on the drawings, and total square footage of all roof areas involved in the scope of Work.

The Contractors Performance-Payment Bond is only required to apply to this trade section during the construction period and the first year of the guarantee period. Said Bond shall not apply to any extended guarantee period beyond the first year. Such extended guarantees are limited to the applicable Contractor and Manufacturer as herein specified.

state of wisconsin Guarantee

State of Wisconsin Roof System Guarantee: Provide five (5) year written guarantee that warranties all roofing and flashing furnished under the Contract, is watertight and free from defects in materials and workmanship for the duration, as stipulated in the contract-required guarantee form.

The Roofing System Contractor and General Prime Contractor (GPC) shall perform a minimum of two (2) roof system inspections during the term of this guarantee. The first inspection shall be approximately two (2) years after the installation date; the second and final inspection shall be performed within the last six (6) months of the five (5) year guarantee. The Roofing System Contractor and GPC shall contact the Agency contact to arrange for a site visit date. If available, the Agency contact shall accompany the Contractor(s) during the inspection. The Roofing System Contractor in conjunction with the GPC shall submit written inspection reports by e-mail to the DFD SME and Agency Representative within 5 working days after the inspection is performed, and prior to the expiration date of the guarantee.

A copy of the required State of Wisconsin Roof System 5-yr Guarantee form is located at the end of this Section and may also be acquired electronically at : https://doa.wi.gov/Pages/DoingBusiness/MasterSpec_Div7.aspx

The General Prime Contractor and all sub-contractors shall review the guarantee and requirements of this section prior to submitting a Bid for all work.

Elastic Sheet Membrane Manufacturer Warranty

Provide the membrane Manufacturer’s NDL (No-Dollar-Limit) / “Total System” warranty covering defects in membrane, workmanship, and all associated roof system components supplied by the membrane Manufacturer for a period of twenty (20) years, with a wind speed coverage of 72 miles per hour from the date of substantial completion of the roof.

All new roof system components, including, but not limited to vapor retarder, insulation, Manufacturer fabricated metal flashing, pre-molded products, fasteners, adhesive, sealants, and accessories, shall be covered by the Manufacturer NDL (No-Dollar-Limit) / “Total System” warranty specified herein.

Quality Assurance

The Roofing System Contractor is required to be recognized by the Manufacturer, as an “approved” and “authorized” Contractor applicator of the roof membrane system and all associated products and components as specified herein.

Roof System shall be applied by Manufacturer’s authorized roofing applicator familiar with products and their current installation procedures.

The Roofing System Contractor shall follow Manufacturer’s current written instructions regarding application and storage, except where superseded by more stringent requirements specified herein.

If the Manufacturer requires improvements to the system materials and / or techniques specified herein, in order to obtain guarantees / warranties, the Roofing System Contractor shall then make a written request to the A/E and DFD representative stating the nature of the proposed changes, and that if approved, will be accomplished at no additional cost to contract.

The Roofing System Contractor shall schedule an onsite installation meeting with the GPC, the DFD’s Project Representative and the A/E. The meeting shall occur within the first two (2) days of the start of Roofing System construction. The purpose of the meeting is for the A/E to review and document scope of project and installation procedures with the Contractor.

The Roofing System Contractor is required to have been in business for a minimum of three (3) years, and within the past three (3) years, the Roofing System Contractor shall be able to document the successful completion of a minimum of three (3) projects of similar size and/or scope as compared to the work as specified in this Section. Backup documentation / verification shall be a submittal requirement.

A minimum of two (2) site visits shall be performed by the Manufacturer during construction. Site visits shall be performed during the first (1st) week of work, and at the final Warranty Inspection. Reports from these visits shall be submitted by the Roofing System Contractor / GPC within five (5) working days in DFD’s Project Management Information System (PMIS). Documentation of manufacturer site visits are required within the submittal package, if not waived by the DFD Project Representative – absence of documentation shall be cause for rejection of the work.

All system components required by the Manufacturer, included in construction documents or otherwise, shall be provided and installed by the Contractor to achieve the Manufacturer’s warranty. Any components required by the Manufacturer, that are not specified in construction documents, shall need written approval by the A/E prior to installation, and be required as part of the submittal package. System components listed in the construction documents, but not otherwise warranted by the Manufacturer, shall be upgraded to achieve Manufacturer warranty at time of bid, if not listed herein. Components installed that do not meet the above-listed criteria shall be cause for rejection of the work.

The Roofing System Contractor shall provide all equipment recommended by the Manufacturer for proper installation of the materials specified.

The Roofing System Contractor shall take multiple digital photos daily and throughout the duration of the project. All photos shall be identified by the roof area where the photos are taken.

Required photographic documentation types include, but are not limited to:

- existing conditions

- various stages of demolition

- the entire installation starting at the roof deck and continuing throughout all roof system layers, various metal flashing details, transitions, penetrations, penetration height changes, over-all views of the field, drains and scuppers, all roof areas in difficult watertight locations, and mechanical fastening that is hidden from view, or otherwise concealed beneath the completed work

- completed work

WORK SEQUENCE

Sequence all work with the other work of the contract, so as not to necessitate construction traffic from this or other trades over unprotected roof assembly surfaces.

All work listed in this section shall be coordinated with the installation of associated envelope, air and/or vapor barriers, screening, masonry, sheet metal, roofing, waterproofing, flashings, roof accessories, MEP, photovoltaic work, and work specified under other sections, as the work of this section proceeds.

Sequence the work to prevent any unnecessary deterioration of installed roofing assembly elements (new or existing to remain in place). Damage by use of roof assemblies for storage and walking surface, or equipment traffic, shall be replaced at no cost to the contract.

Job Conditions

The GPC shall maintain at the jobsite at least one (1) copy of the latest version of the Manufacturer’s installation manual / handbook, including details and technical information concerning application techniques, for all primary roofing system materials required by the work. The GPC shall also maintain at least one (1) copy each of the construction set specification and drawings, Request for Information (RFI), Construction Bulletin (CB), and Change Order (CO) documents, and all other approved signed submittals throughout construction. Documents shall be stored and readily accessible to the Roofing System installation crews.

The Roofing System Contractor shall maintain, at the jobsite, at least one physically accessible copy of the Safety Data Sheets (SDS) manual, for all Roofing System materials used on this project or stored on the jobsite.

Upon commencement of the Work listed herein, and throughout the duration of the project, the building will be subject to leakage – as such, it shall be in a state of emergency when weather threatens. The existing building shall be protected by the Contractor from moisture entry (bulk water) and condensation (water vapor) caused by the Work listed herein (even in unforeseen weather conditions), for the duration of the project. The GPC shall be responsible for all damage to property due to moisture of any kind.

An effective watertight seal between existing roofing and new roofing is required at the end of each day's work. Temporary seals shall be removed upon installation of new permanent work.

Load roofing debris directly into trucks by means of approved chutes or other controlled means. All such gravel, rubbish, debris, etc. shall be removed from the site and disposed of by the GPC. All debris / material shall be controlled to prevent uncontrolled exiting from roof level. All debris shall be picked up continuously to prevent straying. Limit the number of locations where trucks may be loaded to avoid damage to property. The GPC shall be responsible for all damage to property. Throwing or dropping shall not be permitted.

Delivery, Storage, and Handling

The Roofing System Contractor shall make no deliveries to the project site, until a storage area has been identified for the project, and the DFD’s Project Representative and the user Agency Representative has approved onsite deliveries. The State shall not accept delivery, nor shall the State be responsible for any materials or equipment stored on the premises.

Deliver materials in original unopened containers of packaging clearly labeled with Manufacturer’s name, brand name, instructions for use, all identifying numbers and U.L. labels. Labels shall be maintained throughout the duration of the project.

Materials used on the job shall be stored in such a manner as not to create a nuisance or hazard.

Materials shall be stored on clean, raised platforms, with breathable, weather protective covering when stored outdoors. The Roofing System Contractor shall provide continuous protection from all materials against UV damage, exposure to moisture, and general weathering.

Shrink wrap is not considered an acceptable weather protective covering. Ventilation cuts shall be made to all shrink-wrapped materials to allow for exhaust of moisture. All materials shall subsequently be covered with weather protective covering after the ventilation process. Materials damaged in the ventilation process shall be considered unsuitable for installation and shall be rejected.

Store and handle all materials in a manner which does not damage the material. Materials contaminated with any foreign substance shall constitute damage. All damaged materials shall not be considered suitable for installation and shall be rejected and removed from the jobsite.

Adhesives, primers, coatings, sealants, and similar materials shall be stored in compliance with the temperature set by the Manufacturer of that specific product.

Store flammable products away from any ignition source – sparks, open flame, etc.

Select and operate material handling equipment that allows for the safe storage of materials. The Roofing System Contractor shall replace or make good any damage, loss, or injury caused by the improper use of material handling equipment. Do not use material handling equipment in a manner which overloads any portion of the building.

Storage of materials on completed work or within the building is prohibited.

Submittals

All submittals shall be in electronic format. The GPC shall upload accepted submittals into DFD’s Project Management Information System (PMIS). Prior to the start of Roofing System work, electronically submit to the A/E for review and acceptance. The following submittals as required herein:

Membrane Manufacturer’s “Assembly Letter” listing all major materials to be used, attachment method and spacing, UL Assembly Classification, and Manufacturer sample warranty indicating length and type of warranty – to be removed and replaced with the active warranty upon in-service date activation.

Membrane Manufacturer’s letter stating the Roofing System Contractor is an “approved” and “authorized” applicator of the specified Roof System and all associated products and components.

List of all materials proposed for use on the project, starting at the roof deck and identified by manufacturer's name, size, thickness, type or grade. List shall be submitted on Roofing System Contractor's letterhead stationery. The Roofing System Contractor shall state the following at the bottom of the material list submittal: “New products installed on this project do not contain asbestos”.

Manufacturer’s current product data sheets for supplied products with specific product size/thickness noted.

Shop drawings showing the insulation layout, noting presence of cover boards and thermal barriers. Drawings shall depict the rate of taper (if present), directionalities of the system, all crickets / saddles, all penetrations, and the location of all roof drains.

The manufacturer’s shop drawing showing the required patterns for placement of mechanical fasteners.

Mechanical fastener pull test results using test procedure ANSI / SPRI FX-1 2021; Standard Test Procedure for Determining the Withdrawal Resistance of Roofing Fasteners, or equivalent test procedure.

Documentation of compliance with ES-1 (Test Standard for Edge Systems Used with Low Slope Roofing Systems), provided through manufacturer data sheets, or via NRCA edge metal detail testing data.

Manufacturer’s letter stating pull test results achieved are sufficient for system requirements and warranty requirements.

Manufacturer required shop drawings showing any proposed detail / specification changes as required to obtain the specified warranty.

The manufacturer’s most current version of installation and detail manual edited to include only the system being installed.

Roofing System Contractors Project Specific Quality Assurance Plan, at a minimum the plan shall include:

- Project name, address, number, manufacturer and subcontractor(s)

- Project scope and approach to project

- Emergency contact information

- Project Quality Assurance Manager name (Office) and job title

- Project Quality Control Manager name (On-site) and job title

- Project initiation inspections (including manufacturer)

- Project personnel and certifications

- Inspections and tests to be performed, by whom and when

- Control of nonconformance items to protect the quality of the installation

- Project completion inspections (including manufacturer)

The GPC shall submit in DFD’s PMIS a Site-Specific Safety Report at the Pre-Construction meeting (reference General Conditions, Article 15). The report shall describe in detail the Roofing System Contractor’s implementation of specific OSHA regulations, worker safety program methods / means, roof perimeter safety and identification of the “watch person” required at all roof levels. Identify fire extinguishers and their locations, all equipment / operators on roof / ground in setup / storage area and travel routes used while performing the work.

The Roofing System Contractor is responsible for all Category I Non-Friable Asbestos Containing Material (ACM) disturbed within the roof assembly during any and / all facets of this project. The Roofing System Contractor shall submit electronic copies of test results including a drawing indicating locations where test samples are taken. The Roofing System Contractor is required to take a minimum of two (2) samples of existing roof system(s) components encountered starting at the roof deck including existing vapor retarder, to be sent to an accredited testing lab. Take one (1) sample at the base flashing and one (1) sample from the field of the roof. Additional samples are required where roof areas are not of the same roof system or installation period. Each test result shall properly identify the DFD project number, project location, building name, building number & roof area / location where the test sample was taken. Laboratory fees and associated removal and disposal charges shall be the responsibility of the Roofing System Contractor, at no additional cost to the project.

The samples must be collected by an Asbestos Inspector or Exterior Asbestos Supervisor with current accreditation as required by DHS 159. The Roofing System Contractor shall have certified staff or hire an accredited third-party consultant, at no additional cost to the project.

Any disturbance to asbestos materials or assumed asbestos materials must be conducted by workers properly trained and currently certified in accordance with DHS 159. Laboratory results must be submitted prior to the start of Work.

Note: POSITIVE RESULTS

The Roofing System Contractor shall submit an electronic copy of the necessary regulatory notification for asbestos removal or an electronic copy of test results indicating the roofing materials intended for removal do not contain asbestos. (Refer to General Requirements Article “HAZARDOUS SUBSTANCES – ASBESTOS, LEAD AND POLYCHLORINATED BIPHENYLS (PCB’S)” for additional information.)

At project completion, the Roofing system contractor shall submit documentation that they have performed an in-person Owner training regarding care of the roof system and associated warranties. The training shall consist of a page turn that reviews the Manufacturer’s Owner’s Manual, the 20-year NDL warranty, and the Contractor 5-year guaranty. Video recordings will be accepted in lieu of in-person training.

Installation Meetings

Prior to the start of construction, the GPC shall schedule an installation meeting. It is required that the GPC’s Project Manager and Superintendent; and Roofing System Superintendent and/or Foreman attend an installation meeting. Coordinate attendance with these representatives: DFD Project Representative, SME, the user Agency Representative, and the A/E. All required and accepted submittals for this Section and related work shall be uploaded to DFD’s PMIS prior to the meeting.

For new construction or remodel projects with tapered deck structure or tapered insulation systems, the General Prime Contractor shall set up a meeting between the Roofing System Contractor, plumbing contractor and other contractors as required to coordinate the final drain location.

For new construction or remodel projects with Lightning Protection Systems, the General Prime Contractor shall set up a meeting between the Roofing System Contractor, the Lightning Protection Contractor, and all other contractors as required to coordinate the attachment and final location of the Lightening Protection System.

PART 2 - PRODUCTS

Performance Requirements

Roof Assembly shall have a U.L. Class A Fire Hazard Classification. All exceptions shall be approved in writing by the DFD SME.

Manufacturers and Materials

All products installed on this project shall be compatible with one another, approved by the Manufacturer for use in the specified roof assembly / system herein, and included as components in the Manufacturer’s NDL warranty. Unapproved Manufacturer products installed on the project shall be cause for rejection of the roof system in its entirety and shall be completely replaced at no cost to the project.

All products installed on this project shall have been in production, and in field use (with field installed data upon request), for a minimum of ten (10) years. Products that do not meet the ten (10) year requirement that are installed on this project shall be rejected and replaced at no cost to the project.

Use of salvaged materials shall be considered cause for rejection of the roof system in its entirety and shall be completely replaced at no cost to the project, unless specified herein. Salvaged or used materials are unacceptable and shall be removed from the project site.

Elastic Sheet Membrane: EPDM (Ethylene Propylene Diene Terpolymer) thermoset roof membrane meeting or exceeding ASTM D4637, Type I.

Reinforcement: None

Color: Black

Thickness: 115-mil EPDM sheet with fleece (VELCRO™) backing; 60-mil EPDM minimum

Fire retardant: As required to obtain a UL Class A rating

Uncured Flashing: Uncured black 55-60-mil EPDM elastomer that cures in place after installation.

Cured Flashing: ASTM D4637, Type I; Non-reinforced black 60-mil EPDM elastomer.

Self-Adhering Flashing: Adhesive laminated, nominal 60-mil-thick uncured EPDM elastomer membrane.

Membrane Bonding Adhesive: Solvent-based adhesive, designed to bond EPDM membrane to a variety of substates. Water-based adhesives shall not be allowed.

Adhesives, Tapes, Sealants and Accessories: Foam and/or solvent based adhesives and related prepping and cleaning agents required for the installation of membrane, flashing, seaming, etc.

Perimeter Securement Strip: Reinforced EPDM elastomer with a pre-applied splice tape along one edge.

Insulation / Reinforcement Strip and Accessories Fasteners: Designed for use with fastening plates to secure insulation and reinforced termination strips to various types of substrates. Fasteners have a drill point tip and buttress thread design to reduce back-out. Fasteners shall have a coating providing corrosion resistance exceeding the requirements of FM 4470. Thread diameter as required by the manufacturer to obtain warranty.

Insulation / Reinforced Strip Fastener Plates: Galvalume coated metal plates designed for use with fasteners listed above for attachment of insulation and reinforced termination strips. Plates shall exceed the corrosion resistance requirements of FM 4470. Plate diameter shall be 3-inch (3") minimum for securing insulation and 2-inch (2") minimum for securing reinforced strips.

Insulation

Polyisocyanurate, flat stock, ASTM C1289, Type II, Class 2 (with hook facing); rigid board insulation with coated glass mat facing on both sides, surfaced with fiber-reinforced facers (VELCRO™). Thickness and slope as required by construction drawings. Individual board thickness shall not exceed 3-inches (3").

COVER BOARD

High Density Polyisocyanurate: ASTM C1289 Type II, Class 4, Grade 1(with hook facing); rigid board insulation with coated glass mat facing on both sides surfaced with fiber-reinforced facers (VELCRO™), 0.5-inches (½") thick.

Miscellaneous

Plumbing Vent Flashing: Pre-molded boot with stainless steel draw-band clamp shall be approved and supplied by the membrane manufacturer.

Plumbing Vent Pipe Extension: Prefabricated plumbing pipe extension. OMG Tubos Vent Pipe Extension or equal.

Termination Bar: ASTM B209, Series 3000, Temper H-14; minimum 0.10-inch (⅒") thick, 1.25-inch wide (1¼") aluminum with reverse bend for sealant application. Termination bar shall be approved and supplied by the membrane manufacturer.

Metal Batten Strip: Galvalume® AZ 55, .040-inch (⅖") minimum with pre-punched holes. Metal batten strip shall be approved and supplied by the membrane manufacturer.

For Fastening to Concrete or Masonry: Zinc alloy expansion shield with hardened steel pin or concrete screw.

Water Block Sealant (Mastic): Gun grade butyl base rubber designed to provide a seal when used in compression. Not for use as an exposed sealant.

Sealant: ASTM C920, Type S, Grade NS, Class 25, Use NT, M, G, A, or O; FS TT-S-00230C, Type II, Class A; 1-part polyurethane base, elastomeric joint sealing compound such as Sika Chemicals "Sikaflex 1a", Sonneborn-Contech "Sonolastic NP1" or Tremco "Vulkem 116" or “Dymonic".

Pourable Sealer: 1-part, 2-part polyurethane, or other Manufacturer approved sealer intended for use by the membrane provider to seal provider approved penetrations accessories components. The sealer and penetrations accessories components shall be included in the Manufacturer’s warranty.

Other products, not specifically described, but required for a complete and proper warranted system installation as required by this section shall be selected by the Contractor to be included in the Work, identified on a materials list and subject to the approval of DFD’s Project Representative.

PART 3 – EXECUTION

Examination

Prior to commencement of work, the Roofing System Contractor shall examine the areas and conditions under which work in this section shall be installed. Notify the DFD’s Project Representative, GPC and A/E of any conditions detrimental to the proper and timely completion of the work (safety or otherwise). The Roofing System Contractor shall not proceed until the unsatisfactory conditions have been corrected.

The Roofing System Contractor shall inspect the underside of the structural deck for spray-applied insulation or fireproofing, as well as interior components attached to the deck. Notify DFD’s Project Representative, GPC and A/E of such items that could be damaged or dislodged from deck during normal construction activities. The Roofing System Contractor shall take every precaution to prevent damage to, or, the release of components from the interior building envelope during construction. The GPC is responsible for all damage to the building interior or its contents that occur as a direct cause of the work, and due to the means and methods utilized to accomplish the work required herein.

Note: Proceeding with the work shall signify the Roofing System Contractor’s acceptance of the condition of the substrate that is to be covered by this work.

Site Conditions

Apply roofing materials in dry weather. All roofing materials installed during a rain / snow/ precipitation event, shall be removed and replaced with dry materials at the Roofing System Contractor's expense.

The GPC shall provide special protection or avoid any heavy traffic on work to remain.

Existing materials designated to remain, which are damaged or defaced prior to the installation of new work, shall be replaced at the GPC’s expense to like new condition. Do not store equipment or materials on completed work.

Extend plumbing vent stacks as necessary to provide a minimum height of 8-inches (8") above the finished roof surface. Adjust existing stack height as required so that the joint between the extension and the existing pipe occurs below the roof flashing.

Install all rooftop mounted equipment in a Manufacturer approved, watertight manner, and repair any damage to sheet metal or other components related to connection and protection of the roof system.

Prevent materials from entering and clogging roof drains and conductors. Remove roof drain plugs when no work is taking place, at the end of the day, or when rain is forecast.

Substrate Preparation

Clean surfaces of all residual materials as necessary to ensure adequate bond of new material.

The Roofing System Contractor shall verify that the substrate is clean, dry, free from sharp projections and depressions, and that all surfaces and site conditions are ready to receive new materials. All areas (including bottom flanges / ribs of steel deck) shall be devoid of any moisture and all other debris prior to the start of Roofing System construction.

The Roofing System Contractor shall take whatever action is necessary to prevent dirt, debris, and toxic fumes from entering the building during the work required by this Section.

The Roofing System Contractor shall verify that wood blocking, curbs, and nailing flanges are securely anchored, and that roof openings and penetrations are in place, set, and braced.

Bowl height of existing drains, indicated to remain on the drawings, shall be field verified by the Roofing System Contractor prior to roof system installation.

Note: Proceeding with the work shall signify the Roofing System Contractor’s acceptance of the constructability of the insulation design relative to drain bowl heights.

Existing drains indicated on the drawings to remain shall be cleaned and prepared to receive new flashing, and new clamps, bolts, nuts, etc. Drill and tap new holes and bolts as needed.

Provide replacement cast-iron or aluminum drain strainers matching existing retainer ring where existing strainers are missing, damaged or plastic.

The Roofing System Contractor shall notify the DFD Construction Representative, GPC and the A/E if the existing deck has uncovered holes, is found to be deteriorated, decayed, or deformed, or in any way preventing proper installation or drainage of the new system.

Installation of Insulation System / COMPOSITE COVER BOARD

Clean all deck surfaces prior to application of insulation. All deck surfaces, including bottom flanges / ribs of steel deck, shall be devoid of any moisture and all other debris prior to the start of installation.

Provide tapered insulation as shown on drawings and where required to maintain system plane and uniformity. Tapered system to provide a smooth uniform transition from high point to low point.

Install boards with one joint continuous, and end joints staggered a minimum of 12-inches (12"). Stagger board joints a minimum of 12-inches (12”) from underlying insulation joints.

Repair all damage to vapor retarder before installation of first layer of insulation.

Install boards with edges in moderate contact without forcing. Cut boards to fit neatly to perimeters of roof areas and around penetrations and projections.

Fill gaps between 0.25-inch (¼") and 0.5-inch (½") wide with spray foam insulation. Gaps over 0.5-inch (½") shall be filled with specified insulation board material.

Fill area around drain bowl with spray foam insulation prior to setting insulation sump.

Provide sumps around all roof drains using tapered insulation as required by manufacturer or as detailed herein. Unless otherwise specified: sumps shall be a minimum of 48-inches by 48-inches in dimension (48"x 48"). Insulation shall have a constant, gradual slope from the perimeter of the sump to the drain clamping flange. Note: Severely sloped sumps, greater than 3-inches in 12-inches (3":12"), will be rejected.

Provide tapered insulation saddles at twice the slope of field taper, on the backside of curbs and rails.

Install 0.5-inches (½") hook faced insulation board on all vertical walls and curb conditions.

Hook mat facing material shall be maintained on the sheet bonding surface of insulation board continuously to the drain bowl edge. Note: field beveled insultation boards that are missing the hook facing material on the bonding surface will be rejected.

MECHANICAL ATTACHMENT OF INSULATION / COMPOSITE COVER BOARD

The Roofing System Contractor shall attach the system insulation using the attachment rates listed below:

Field (Zone 1): shall consist of the interior field dimensions throughout the roof plane. Field shall be mechanically attached a rate of <insert number listed in project construction documents> fasteners and plates per square foot (<insert number listed in project construction documents> >/ft.²).

Perimeter (Zone 2): shall consist of an area <insert perimeter width listed in project construction documents> feet wide from the exterior roof edge inward to the interior field, continuously around the perimeter, excluding corner zones. Perimeter shall be mechanically attached a rate of <insert number> fasteners and plates per square foot (<insert number listed in project construction documents> >/ft.²).

Corner (Zone 3): shall consist of an area <insert corner dimension in (<number> feet by <number> feet) listed in project construction documents > wide from all roof corner conditions. Corners shall be mechanically attached at a rate of <insert number listed in project construction documents > fasteners and plates per square foot (<insert number listed in project construction documents> >/ft.²).

Note: Mechanical insulation attachment shall meet all system specifications listed herein. Mechanical attachment shall be performed as listed herein, with reduced fastener quantity allowed, as shown by the manufacturer to achieve required uplift (based on differential board performance), and written approval by  the A/E.

Install fasteners perpendicular to roof deck using a standard clutch drive screw gun. Screw threads shall engage metal deck minimum of 0.75-inches (¾"), maximum of 1.5-inches (1½").

Do not under drive fasteners or over drive fasteners breaking the insulation facer. Replace insulation boards with damaged facer.

For metal decks, fasteners shall be of a length to engage the top plane (rib) of the deck and not extend beyond the bottom plane of the deck.

Note: Hook-faced insulation shall only be installed as the coverboard layer of a taper system or flat stock system. Individual board thickness shall be 2-inches (2") for flat stock, 2.5-inches (2½") for tapered stock.

Installation of Roof Membrane

Install membrane in accordance with the membrane supplier’s recommendations and the following:

Use largest membrane panels practical to minimize field seams; lap all seams perpendicular to or in the direction of flow. Note: Butt joints on panels less than 100-feet (100') in length shall not be allowed without the written approval.

Correct any warped, curled, deformed or damaged cover board prior to application of membrane.

Clean surfaces of all debris, contaminates, etc. prior to installing membrane.

Unroll membrane over the insulation and position without stretching. Allow membrane to relax until wrinkles have relaxed, approximately 30-minutes (30′) or more, per membrane supplier’s instructions, and prior to seaming. Remove all wrinkles that impede the flow of water.

Broom and hard roll all membrane into locking (hook faced) substrate with a weighted roller to fully mate membrane to the insulation base. Roller weight minimum 150-pounds.

Clean all laps with manufacturer's approved solvents and/or primers. All bonding surfaces must be free of dirt, moisture, etc. Apply cleaner / primer a minimum of 1-inch (1″) beyond matting surface.

Panels jointed utilizing seam / splice tape shall use minimum width tape as required to meet terms of the warranty. Tape to extend beyond overlying top panel as required. Trim panel as necessary.

Seam all non-fleece containing EPDM membrane facets together, following the manufacturer’s directions regarding splicing application. Note: Fleece surfaced EPDM membrane facets shall not be spliced into a non-fleece surfaced EPDM membrane facet.

All approved butt joints shall use the manufacturer 30-year detail. First apply 6-inch (6") cured cover tape over the entire joint, and extending beyond the joint 3-inches (3") in all directions. Then apply 12-inch (12") uncured cover tape over the entire joint and extending beyond the primary tape 3-inches (3") in all directions.

Adhesive (non-fleece containing) seams shall be a minimum of four (4″) inches wide. Lap sealant shall be applied to adhesive seams before the end of each day but not before seam has set for two (2) hours. Lap joints to be cleaned before installing sealant. Note: Fleece surfaced EPDM membrane facets shall not be spliced into a non-fleece surfaced EPDM membrane facet.

Seams shall not be allowed to transect roof drains, prefabricated boots, or cured pre-formed flashing. Note: Sheet wrinkles through a seam are not allowed.

Seams shall first be rolled perpendicular to seam for the entire length of seam, and then parallel to seam for the entire length of seam.

Terminate and seam membrane in accordance with accepted shop drawings.

For vertical wall and curb attachments of membrane, extend fleece backed membrane upward along vertical wall conditions that have been prepared with 0.5-inches (½") hook faced insulation board and install as per manufacturers specifications. Note: For vertical wall conditions that are not achievable with 0.5-inches (½") hook faced insulation board, field sheets shall be adhered using manufacturers approved adhesive.

Vertical wall conditions shall utilize screws and plates 12-inches on center (12"o.c.) maximum spacing, or termination bar with match spacing, through the membrane. All attachments shall be stripped -in using a 6-inch (6") cover tape that extends past all anchor edges a minimum of 2-inches (2").

Edge of fastening plates shall maintain a minimum distance of 0.25-inches (¼") to 0.5-inches (½") from deck to wall / curb juncture and be installed on the vertical facet.

Where field seams cross forming a “T joint”, provide an adhered patch of uncured flashing with rounded corners or preformed joint cover adhered over “T joint”.

At vertical field splices, provide an adhered patch of uncured flashing with rounded corner or adhered preformed joint cover centered over joint.

Installation of Roof Flashings

All flashings and terminations shall be done in accordance with detail drawings or approved shop drawings.

Totally bond (95% to 100%) all flashing to its substrate and round all exposed corners.

Maximum allowable bridging of flashing material, measured across the face: 0.25-inch (¼").

All cured flashing vertical field splices shall be overlaid with a piece of uncured flashing or preformed joint cover centered over the field splice at the angle change.

Forming of all uncured flashings shall be done with the aid of a hot air gun during “cold” weather. Do not stretch flashings.

Flashing at curbs, expansion joints, etc. shall extend up to and terminate on top of horizontal surface.

Intermediate attachment of flashing required on all areas exceeding 5-feet (5') vertically.

Flash penetrations, such as soil vent stacks in accordance with manufacturers' instructions using prefabricated units where possible. Flash other penetrations using field fabricated flashings.

Roofing membrane to be flashed at the end of each day with the top edge of the flashing sealed with caulk strip, sealant or mastic to prevent water entry.

Top and side edges of all membrane wall flashings are to be sealed using a fastener attached compression bar. Prior to installing the bar, apply a 1-inch by 0.125-inch (1"x⅛") continuous bead of water stop mastic to the back side of the leading edge of the membrane. Apply a bead of caulk to the top edge of the membrane / bar post installation.

Top and side edges of all metal wall flashings in contact with membrane, are to be sealed with a caulk.

Installation of Roof Drain Flashing and Components

Wire brush clean, existing drain flange and clamping ring. Provide new clamping ring-to-bowl hardware (bolts, clamps, etc.). Tap out existing bolt holes prior to installation of new bolts.

Replace all plastic, broken, or missing strainers with new cast iron strainers. Existing strainers are to receive two coats of a corrosion resistant paint or coating post final installation of roof system.

Taper insulation around roof drains to provide a smooth transition from roof surface to drain clamping flange. Do not slope insulation greater than 0.25-inches in 12-inches (¼":12").

Provide a watertight seal using a full bead of water cut-off mastic between roof membrane and drain flange. Use a minimum of 5-ounces (5 oz.) of water cut-off mastic at each drain.

Roofing membrane to extend into drain bowl, past the exterior edge, a minimum / maximum tolerance of 0.75-inches (¾") to 1.5-inches (1½") to form a surface tension break (drip) along the cut radius. From cut edge inward, singe fleece from EPDM using a hot air torch, to an outward radius of 2-inches (2") to 3-inches (3") outward beyond the clamping ring on the fleece side of the membrane. Note: singeing of fleece is necessary to prevent wicking moisture from the drain bowl.

Note: Target patches over drains shall not be allowed.

Do not cut back membrane to install clamping ring bolts. Punch membrane at each bolt location. Secure clamp ring to bowl to achieve constant pressure of the water cut-off mastic between membrane and flange.

Complete installation of roof drain assembly daily. Temporary installation at drain bowl assembly shall not be allowed. Clamping rings and sealants shall be applied to assure a watertight installation at the end of each workday.

All drains shall be maintained in a fully operable and free flowing condition (or returned to that state at the end of the working day, if plugged) throughout construction, until final drain bowl strainer re-installation.

Note: for projects with existing BUR systems, the Roof System Contractor shall rod and clean all drain bodies and piping, past the first elbow, to be unobstructed and free of asphalt and all other debris.

flashing of Pipe Clusters and Unusually Shaped Penetrations

Clean penetration of all rust, grease, paint, asphalt, sealant, etc.

Seal EPDM field membrane to penetration.

Provide minimum 2-inch (2") deep sealant pan around the penetration. Allow a minimum clearance of 1-inch (1") between the penetration(s) and all sides of the sealant pan.

Prime inside and outside of sealant pan and penetration.

Flash sealant pan with uncured flashing. Wrap flashing inside pan 1-inch (1") minimum.

Fill sealant pan with pourable sealer – mounded a minimum of 1-inch (1") top to bottom, to shed water. Note: pourable sealer must be a minimum of 2-inches (2") deep, and 1-inch (1") clear around the penetrations.

Miscellaneous

Provide all concrete pavers shown on drawings. Provide four (4) concrete pavers at all roof hatch exits, roof access doors, at the top and bottom of all rooftop wall mounts ladders or stairways, and around all sides of serviceable equipment. All concrete pavers shall be installed over a second layer of protection membrane, minimum 45-mil EPDM.

Provide prefabricated rubber walkway pads shown on drawings. Provide four (4) rubber walkway pads at all roof hatch exits, roof access doors, at the top and bottom of all rooftop wall mounts ladders or stairways, and around all sides of serviceable equipment.

Concrete paver or prefabricated walkways over or within 6-inches (6") of a membrane splice edge shall have a 6-inch (6") wide layer of flashing installed over the splice edge. Flashing to extend a minimum of 6-inches (6") each side of walkway.

Attach hood(s), covers, etc. to curb(s) with a minimum of two (2) screws with weather tight washers on each side – eight (8) screws minimum.

WORKMANSHIP

In part the following items may be cause for rejection or repair in whole or part of the roof system. Corrective action necessary will be determined by the SME, Division Representative and A/E.

- Wrinkles in membrane or flashing exceeding 2-inches (2") of any dimension.

- Any wrinkle that is in contact with a field seam.

- Bubbles in membrane or flashing of any size, caused by outgassing or otherwise.

- Blistering of membrane or flashing of any size.

- Tenting / bridging of membrane or flashing of 2-inches (2") or more off any planar surface (excluding flashing boots).

- Delamination or warping of installed material from any surface.

- Delamination of flashing from any adhered surface.

- Cuts, holes, tears, punctures, or damage to the membrane or flashing of any kind.

Repair of damaged membrane shall consist of a new EPDM membrane piece applied to the damage area, that extends a minimum of 3-inches (3") beyond the damage in all directions.

Repair of small punctures, cuts, or damaged flashing shall consist of two (2) overlaid patches. The primary patch will consist of a minimum of 6-inch by 6-inch (6"x6") EPDM membrane, overlaid with a secondary minimum 12-inch by 12-inch (12"x12") EPDM membrane. Round all corners of patch material.

CLEANING

Inspect adjacent roof systems, their drain strainers, and the grounds below the work area and remove debris associated with this project.

Repair or replace defaced or disfigured finishes caused by work in this Section. In areas where finished surfaces are soiled by any source caused by work of this Section, consult with Manufacturer for cleaning advice, product recommendations, and conform to their instructions.

*** END OF SECTION ***