## FY 1WW Steam CHW Consumption
| Month | Year | Building Owner | Building Name | Steam Pounds | Condensate Gallons | Condensate Pounds | Condensate MBTUs | Steam Line Loss | Steam Total MBTUs | Chilled Water MBTUs | Chilled Water Line Loss | Chilled Water Total MBTUs
Building Name: 1WW
| 7 | 2024 | DOA | 1WW | 0 | 31108 | 259440.72 | 248.28 | 0 | 248.28 | 795 | 0 | 795
| 8 | 2024 | DOA | 1WW | 0 | 31085 | 259248.9 | 248.1 | 0 | 248.1 | 788 | 0 | 788
| 9 | 2024 | DOA | 1WW | 0 | 28767 | 239916.78 | 229.6 | 0 | 229.6 | 491 | 0 | 491
| 10 | 2024 | DOA | 1WW | 0 | 93497 | 779764.98 | 746.24 | 0 | 746.24 | 109 | 0 | 109
| 11 | 2024 | DOA | 1WW | 0 | 252297 | 2104156.98 | 2013.68 | 0 | 2013.68 | 0 | 0 | 0
| 12 | 2024 | DOA | 1WW | 0 | 399909 | 3335241.06 | 3191.83 | 0 | 3191.83 | 0 | 0 | 0
| 1 | 2025 | DOA | 1WW | 0 | 420300 | 3505302 | 3354.57 | 0 | 3354.57 | 0 | 0 | 0
| 2 | 2025 | DOA | 1WW | 0 | 364658 | 3041247.72 | 2910.47 | 0 | 2910.47 | 0 | 0 | 0
| 3 | 2025 | DOA | 1WW | 0 | 263014 | 2193536.76 | 2099.21 | 0 | 2099.21 | 0 | 0 | 0
| 4 | 2025 | DOA | 1WW | 0 | 183563 | 1530915.42 | 1465.09 | 0 | 1465.09 | 29 | 0 | 29
| 5 | 2025 | DOA | 1WW | 0 | 73370 | 611905.8 | 585.59 | 0 | 585.59 | 210 | 0 | 210
| 6 | 2025 | DOA | 1WW | 0 | 30902 | 257722.68 | 246.64 | 0 | 246.64 | 716 | 0 | 716
|  |  |  | Building total | 0 | 2172470 | 18118399.8 | 17339.3 | 0 | 17339.3 | 3138 | 0 | 3138

## 1WW- MGE Energy Data
1-Acct-Nbr | 2-Cust-Name | 3-Svc-Addr | 4-Premise-Id | 5-SB-Grp-Desc | 6-SB-SubGrp-Desc | 7-Bill-Dt | 8-Bill-Nbr | 9-Activity-Descr | 10-Svc-Pt-ID | 11-Energy-Product | 12-Mtr-Nbr | 13-Svc-Pt-Descr | 14-Mtr-Active-Dt | 15-Mtr-Inactive-Dt | 16-Start-Dt | 17-End-Dt | 18-Days | 19-Htg-Deg-Days | 20-Cons | 21-Cons-Unit | 22-Dmd-KW | 23-Est-Read | 24-Svc-Pt-Chgs | 25-Dmd-Chgs | 26-Cons-Chgs | 27-Other-Chgs | 28-GPT-Green-KWH | 29-GPT-Green-Chgs | 30-Off-Pk-KWH | 31-On-Pk-1-KWH | 32-On-Pk-1-Chgs | 33-On-Pk-2-KWH | 34-On-Pk-2-Chgs | 35-On-Pk-3-KWH | 36-On-Pk-3-Chgs | 37-Cust-Dmd-KW | 38-Cust-Dmd-Chgs | 39-Cust-Dmd-Dt | 40-On-Pk-Dmd-KW | 41-On-Pk-Dmd-Chgs | 42-MGE-Purch-KWH | 43-MGE-Purch-Amount
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-07-03 | 750691683594 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2024-06-01 | 2024-07-01 | 30 | 17 | 79 | kWh | 0 | N | 426.96 | 222.94 | 10.16 | 193.86 | 0 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 87.2 | 222.94 | 2024-06-30 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-07-03 | 750691683594 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2024-06-01 | 2024-07-01 | 30 | 17 | 53892 | kWh | 161.6 | N | 7807.69 | 2598.71 | 6368.62 | -1159.64 | 0 | 0 | 29371 | 8222 | 152.02 | 12620 | 350.21 | 3679 | 83.11 | 202.4 | 517.46 | 2024-06-30 | 161.6 | 2081.25 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-07-03 | 750691683594 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2024-06-01 | 2024-07-01 | 30 | 17 | 72890 | kWh | 192 | N | 10542.98 | 3501.56 | 8115.63 | -1074.21 | 0 | 0 | 42329 | 9647 | 210.02 | 15454 | 479.54 | 5460 | 141.25 | 228.8 | 735.61 | 2024-06-30 | 192 | 2765.95 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-08-05 | 750674086146 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2024-07-01 | 2024-08-01 | 31 | 1 | 80363 | kWh | 189.6 | N | 11262.4 | 3582.56 | 8980.64 | -1300.8 | 0 | 0 | 45369 | 11062 | 240.82 | 17738 | 550.41 | 6194 | 160.24 | 228.8 | 760.14 | 2024-07-31 | 189.6 | 2822.42 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-08-05 | 750674086146 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2024-07-01 | 2024-08-01 | 31 | 1 | 58980 | kWh | 161.6 | N | 8356.25 | 2685.32 | 7019.05 | -1348.12 | 0 | 0 | 30906 | 9400 | 173.81 | 14498 | 402.32 | 4176 | 94.34 | 202.4 | 534.7 | 2024-07-31 | 161.6 | 2150.62 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-08-05 | 750674086146 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2024-07-01 | 2024-08-01 | 31 | 1 | 0 | kWh | 0 | N | 434.2 | 230.37 | 0 | 203.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.2 | 230.37 | 2024-07-31 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-09-05 | 750736947855 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2024-08-01 | 2024-09-01 | 31 | 11 | 58475 | kWh | 160.8 | N | 8382.94 | 2636.63 | 6809.62 | -1063.31 | 0 | 0 | 31128 | 9184 | 169.81 | 14080 | 390.72 | 4083 | 92.23 | 188 | 496.66 | 2024-08-31 | 160.8 | 2139.97 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-09-05 | 750736947855 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2024-08-01 | 2024-09-01 | 31 | 11 | 0 | kWh | 0 | N | 434.2 | 230.37 | 0 | 203.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.2 | 230.37 | 2024-08-31 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-09-05 | 750736947855 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2024-08-01 | 2024-09-01 | 31 | 11 | 79683 | kWh | 190.4 | N | 11338.16 | 3570.55 | 8730.7 | -963.09 | 0 | 0 | 45392 | 10910 | 237.51 | 17342 | 538.12 | 6039 | 156.23 | 221.6 | 736.22 | 2024-08-31 | 190.4 | 2834.33 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-10-03 | 750124284988 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2024-09-01 | 2024-10-01 | 30 | 49 | 54595 | kWh | 156.8 | N | 7738.14 | 2487.8 | 6458.15 | -1207.81 | 0 | 0 | 30129 | 8222 | 152.02 | 12568 | 348.76 | 3676 | 83.04 | 183.2 | 468.37 | 2024-09-30 | 156.8 | 2019.43 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-10-03 | 750124284988 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2024-09-01 | 2024-10-01 | 30 | 49 | 162 | kWh | 83.2 | N | 970.83 | 758.7 | 20.76 | 191.37 | 0 | 0 | 47 | 115 | 2.13 | 0 | 0 | 0 | 0 | 87.2 | 222.94 | 2024-09-30 | 83.2 | 1071.53 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-10-03 | 750124284988 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2024-09-01 | 2024-10-01 | 30 | 49 | 72698 | kWh | 184.8 | N | 10313.22 | 3336.11 | 8090.66 | -1113.55 | 0 | 0 | 42620 | 9485 | 206.49 | 15187 | 471.25 | 5406 | 139.85 | 209.6 | 673.88 | 2024-09-30 | 184.8 | 2662.23 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-11-05 | 750861465124 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2024-10-01 | 2024-11-01 | 31 | 317 | 0 | kWh | 0 | N | 423.63 | 219.8 | 0 | 203.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.2 | 219.8 | 2024-10-31 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-11-05 | 750861465124 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2024-10-01 | 2024-11-01 | 31 | 317 | 81365 | kWh | 208 | N | 10153.06 | 3254.92 | 7600.26 | -702.12 | 0 | 0 | 44535 | 11292 | 243.23 | 18356 | 345.09 | 7182 | 164.76 | 209.6 | 696.35 | 2024-10-31 | 208 | 2558.57 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-11-05 | 750861465124 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2024-10-01 | 2024-11-01 | 31 | 317 | 64046 | kWh | 205.6 | N | 8247.46 | 2784.12 | 6402.67 | -939.33 | 0 | 0 | 33092 | 10025 | 183.06 | 15691 | 243.52 | 5238 | 102.98 | 205.6 | 543.16 | 2024-10-31 | 205.6 | 2240.96 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-12-04 | 750110131220 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2024-11-01 | 2024-12-01 | 30 | 689 | 84894 | kWh | 188.8 | N | 10082.26 | 2916.22 | 7149.87 | 16.17 | 0 | 0 | 52073 | 9935 | 214 | 16132 | 303.28 | 6754 | 154.94 | 208 | 668.74 | 2024-11-30 | 188.8 | 2247.48 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-12-04 | 750110131220 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2024-11-01 | 2024-12-01 | 30 | 689 | 0 | kWh | 0 | N | 409.96 | 212.71 | 0 | 197.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.2 | 212.71 | 2024-11-30 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2024-12-04 | 750110131220 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2024-11-01 | 2024-12-01 | 30 | 689 | 60607 | kWh | 152.8 | N | 7359.78 | 2137.37 | 5490.33 | -267.92 | 0 | 0 | 35506 | 8206 | 149.84 | 12573 | 195.13 | 4322 | 84.97 | 205.6 | 525.64 | 2024-11-30 | 152.8 | 1611.73 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-01-03 | 750605469504 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2024-12-01 | 2025-01-01 | 31 | 1166 | 88249 | kWh | 201.6 | N | 10602.76 | 3170.87 | 7374.48 | 57.41 | 0 | 0 | 55921 | 9829 | 211.72 | 15891 | 298.75 | 6608 | 151.59 | 208 | 691.03 | 2024-12-31 | 201.6 | 2479.84 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-01-03 | 750605469504 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2024-12-01 | 2025-01-01 | 31 | 1166 | 74 | kWh | 34.4 | N | 616.91 | 407.28 | 7.33 | 202.3 | 0 | 0 | 65 | 9 | 0.16 | 0 | 0 | 0 | 0 | 83.2 | 219.8 | 2024-12-31 | 34.4 | 374.95 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-01-03 | 750605469504 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2024-12-01 | 2025-01-01 | 31 | 1166 | 63398 | kWh | 157.6 | N | 7712.17 | 2260.94 | 5667.33 | -216.1 | 0 | 0 | 39086 | 7761 | 141.72 | 11928 | 185.12 | 4623 | 90.89 | 205.6 | 543.16 | 2024-12-31 | 157.6 | 1717.78 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-02-04 | 750099696768 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2025-01-01 | 2025-02-01 | 31 | 1402 | 89798 | kWh | 211.2 | N | 11815.12 | 3420.65 | 8747.16 | -352.69 | 0 | 0 | 56887 | 9714 | 216.62 | 15869 | 308.65 | 7328 | 174.11 | 211.2 | 729.75 | 2025-01-31 | 211.2 | 2690.9 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-02-04 | 750099696768 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2025-01-01 | 2025-02-01 | 31 | 1402 | 0 | kWh | 0 | N | 446.79 | 227.46 | 0 | 219.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.2 | 227.46 | 2025-01-31 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-02-04 | 750099696768 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2025-01-01 | 2025-02-01 | 31 | 1402 | 66595 | kWh | 148 | N | 8526.15 | 2212.76 | 6879.99 | -566.6 | 0 | 0 | 40333 | 8329 | 155.92 | 12883 | 204.97 | 5050 | 101.76 | 205.6 | 562.09 | 2025-01-31 | 148 | 1650.67 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-03-05 | 750176222696 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2025-02-01 | 2025-03-01 | 28 | 1190 | 0 | kWh | 0 | N | 403.55 | 205.45 | 0 | 198.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.2 | 205.45 | 2025-02-28 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-03-05 | 750176222696 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2025-02-01 | 2025-03-01 | 28 | 1190 | 61948 | kWh | 147.2 | N | 7801.04 | 1990.56 | 6616.39 | -805.91 | 0 | 0 | 37050 | 7842 | 146.8 | 12050 | 191.72 | 5006 | 100.87 | 205.6 | 507.69 | 2025-02-28 | 147.2 | 1482.87 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-03-05 | 750176222696 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2025-02-01 | 2025-03-01 | 28 | 1190 | 85346 | kWh | 185.6 | N | 10697.64 | 2795.01 | 8594.01 | -691.38 | 0 | 0 | 53056 | 9378 | 209.13 | 15258 | 296.77 | 7654 | 181.86 | 211.2 | 659.13 | 2025-02-28 | 185.6 | 2135.88 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-04-03 | 750410318240 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2025-03-01 | 2025-04-01 | 31 | 778 | 62919 | kWh | 160 | N | 8140.11 | 2346.6 | 7017.76 | -1224.25 | 0 | 0 | 36793 | 8200 | 153.5 | 13164 | 209.44 | 4762 | 95.95 | 205.6 | 562.09 | 2025-03-31 | 160 | 1784.51 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-04-03 | 750410318240 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2025-03-01 | 2025-04-01 | 31 | 778 | 63 | kWh | 83.2 | N | 916.05 | 691.43 | 9.21 | 215.41 | 0 | 0 | 0 | 0 | 0 | 63 | 1 | 0 | 0 | 83.2 | 227.46 | 2025-03-31 | 83.2 | 927.94 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-04-03 | 750410318240 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2025-03-01 | 2025-04-01 | 31 | 778 | 82715 | kWh | 190.4 | N | 10734.85 | 3155.64 | 8858.92 | -1279.71 | 0 | 0 | 48527 | 10695 | 238.5 | 17412 | 338.66 | 6081 | 144.48 | 211.2 | 729.75 | 2025-03-31 | 190.4 | 2425.89 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-05-08 | 750273215270 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2025-04-01 | 2025-05-01 | 30 | 541 | 59318 | kWh | 155.2 | N | 7688.09 | 2219.1 | 6687.99 | -1219 | 0 | 0 | 33237 | 8472 | 158.6 | 13122 | 208.77 | 4487 | 90.41 | 205.6 | 543.96 | 2025-04-30 | 155.2 | 1675.14 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-05-08 | 750273215270 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2025-04-01 | 2025-05-01 | 30 | 541 | 0 | kWh | 0 | N | 432.37 | 220.12 | 0 | 212.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.2 | 220.12 | 2025-04-30 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-05-08 | 750273215270 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2025-04-01 | 2025-05-01 | 30 | 541 | 72197 | kWh | 183.8 | N | 9676.24 | 2972.46 | 7828.58 | -1124.8 | 0 | 0 | 39317 | 10364 | 231.12 | 16816 | 327.07 | 5700 | 135.43 | 211.2 | 706.21 | 2025-04-30 | 183.8 | 2266.25 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-06-06 | 750109407607 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2025-05-01 | 2025-06-01 | 31 | 285 | 53806 | kWh | 145 | N | 7175.16 | 2179.3 | 6159.02 | -1163.16 | 0 | 0 | 30201 | 7902 | 147.93 | 12009 | 191.06 | 3694 | 74.43 | 205.6 | 562.09 | 2025-05-31 | 145 | 1617.21 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-06-06 | 750109407607 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2025-05-01 | 2025-06-01 | 31 | 285 | 0 | kWh | 0 | N | 446.79 | 227.46 | 0 | 219.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.2 | 227.46 | 2025-05-31 | 0 | 0 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-06-06 | 750109407607 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2025-05-01 | 2025-06-01 | 31 | 285 | 70242 | kWh | 178.6 | N | 9562.65 | 3005.29 | 7663.32 | -1105.96 | 0 | 0 | 40510 | 9327 | 207.99 | 15150 | 294.67 | 5255 | 124.86 | 211.2 | 729.75 | 2025-05-31 | 178.6 | 2275.54 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-07-03 | 750404144350 | Billing of service point charges | 391913043458 | ELEC | E448262 |  | 1983-04-29 |  | 2025-06-01 | 2025-07-01 | 30 | 17 | 57235 | kWh | 147.7 | N | 7907.99 | 2490.59 | 6557.77 | -1140.37 | 0 | 0 | 32084 | 8249 | 156.32 | 12830 | 364.89 | 4072 | 94.27 | 205.6 | 543.96 | 2025-06-30 | 147.7 | 1946.63 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-07-03 | 750404144350 | Billing of service point charges | 758585350747 | ELEC | E436474 |  | 2018-07-19 |  | 2025-06-01 | 2025-07-01 | 30 | 17 | 139 | kWh | 82.9 | N | 992.04 | 766.95 | 13.53 | 211.56 | 0 | 0 | 95 | 44 | 0.83 | 0 | 0 | 0 | 0 | 83.4 | 220.65 | 2025-06-30 | 82.9 | 1092.59 | 0 | 0
7500441213 | Wisconsin Dept of Admin | 1 W Wilson St - Madison | 8400116849 | Wisconsin Dept of Admin | Fmg1 | 2025-07-03 | 750404144350 | Billing of service point charges | 517823743571 | ELEC | E448260 |  | 1982-10-08 |  | 2025-06-01 | 2025-07-01 | 30 | 17 | 78323 | kWh | 186.3 | N | 10850.19 | 3483.94 | 8498.43 | -1132.18 | 0 | 0 | 46292 | 9891 | 222.94 | 16094 | 517.74 | 6046 | 162.03 | 211.2 | 706.21 | 2025-06-30 | 186.3 | 2777.73 | 0 | 0

## MGE Data Field Definitions
https://www.mge.com/my-account/payment-billing/download-my-data/data-definitions
Customer and Address Demographics
1-Acct-Nbr (Account Number)
The unique number that identifies an account receiving utility service at a specific service address.
2-Cust-Name (Customer Name)
The name of the customer responsible for paying for service at the address.
3-Svc-Addr (Service Address)
The address where MGE provides either gas and/or electric service.
4-Premise-ID (Premise ID)
Each service address is assigned a unique Premise ID.
5-SB-Grp-Desc (Summary Bill Group Description)
6-SB-SubGrp-Desc (Summary Bill Subgroup Description)
Customers who participate in Summary Billing can assign their accounts to one or more groups and/or subgroups based upon their business needs or preferences. Customers may change descriptions of either level group.
Bill and Service Point/Meter Information
7-Bill-Dt (Bill Date)
The date the bill was created for an account.
8-Bill-Nbr (Bill Number)
A unique number assigned to each bill MGE issues. The same bill number will be associated with all activity presented on that bill and in the data file.
9-Activity-Descr (Activity Description)
A description of the activity represented by each row, i.e., a payment or a billing, reversal or adjustment of charges, etc.
10-Svc-Pt-ID (Service Point ID)
Each gas or electric service is assigned a unique service point ID. Meter numbers can change over time, but the service point ID will not change. Unmetered service points are given an ID.
11-Energy-Product (Energy Product)
The type of utility service for the activity; whether natural gas (G) or electric (E).
12-Mtr-Nbr (Meter Number)
The meter number associated with the service point activity. Meter numbers can change over time. Unmetered service points, such as outdoor lighting, will have meter numbers like 'E000000' or 'G000000'.
13-Svc-Pt-Descr (Service Point Description)
An optional data field that is printed on the bill for description of the service point or what it serves.
14-Mtr-Active-Dt (Meter Active Date)
The date when this meter became active at this service point.
15-Mtr-Inactive-Dt (Meter Inactive Date)
The date when this meter became inactive at this service point. This will be blank if the meter is still active.
16-Start-Dt (Start Date)
The date from which the billing started for this service point/meter in this billing period.
17-End-Dt (End Date)
The date the service point/meter was read for billing purposes. It is not uncommon to have different read dates on one bill for different activities and/or service points.
18-Days (Days in Billing Period)
The number of days in the billing period for this service point (from Start Date to End Date).
19-Htg-Deg-Days (Heating Degree Days)
This information is only provided for space-heating service points during the heating season. Heating degree days are a reflection of temperatures during the billing period, i.e., the larger the number, the colder the temperature was. This number, along with the number of days in the billing period, can be useful in understanding fluctuations in the billed amounts.
Energy Use, Demand and Charges
20-Cons (Consumption Quantity)
The quantity of gas or electricity used (consumed) through this service point.
21-Cons-Unit (Consumption Units)
The unit of gas or electricity used through this service point, either Therms for natural gas or kWh (kilowatt-hours) for electric.
22-Dmd-KW (Demand kW)
An on-peak demand is the greatest rate at which electrical energy has been used during any 15-minute interval 10am - 9pm, Monday - Friday, excluding holidays during the billing period.
23-Est-Read (Estimated Read Flag)
If the read was estimated, this shows Y; otherwise it shows N.
24-Svc-Pt-Chgs (Service Point Charges)
The total utility charges applied to this service point for this billing period.
25-Dmd-Chgs (Demand Charges)
The total charges based on demand, measured in KW (kilowatts). This is for commercial and/or industrial service points only.
26-Cons-Chgs (Consumption Charges)
The total charges for the quantity of gas or electricity consumed during the billing period. These charges include electricity service charges, on- and off-peak energy charges, natural gas service charges, etc.
27-Other-Chgs (Other Charges)
Any other charges that have been applied to this service point and do not fall into another category. Examples include state and local taxes, poles and lamps for overhead lighting, credits for purchases, etc.
28-GPT-Green-KWH (Green Power Tomorrow kWh)
29-GPT-Green-Chgs (Green Power Tomorrow Charges)
The quantity of electricity use subscribed under the GPT program and associated charges.
30-Off-Pk-KWH (Off-Peak kWh)
Off-peak hours are defined as 9pm to 10am, Monday through Friday, all holidays and weekends. Off-peak kWh reflects all electricity used during those hours.
31-On-Pk-1-KWH (On-Peak Period 1 kWh)
32-On-Pk-1-Chgs (On-Peak Period 1 Charges
On-peak period 1 hours are defined as 10am to 1pm, Monday through Friday, excluding holidays. On-peak period 1 kWh (kilowatt hours) reflects all electricity used during those hours. On-peak period 1 amount reflects the charges associated with that use.
33-On-Pk-2-KWH (On-Peak Period 2 kWh)
34-On-Pk-2-Chgs (On-Peak Period 2 Charges)
Beginning January 1, 2013, on-peak period 2 hours are defined as 1pm to 6pm, Monday through Friday, excluding holidays. On-peak period 2 kWh (kilowatt hours) reflects all electricity used during those hours. On-peak period 2 amount reflects the charges associated with that use.
35-On-Pk-3-KWH (On-Peak Period 3 kWh)
36-On-Pk-3-Chgs (On-Peak Period 3 Charges)
Beginning January 1, 2013, on-peak period 3 hours are defined as 6pm to 9pm, Monday through Friday, excluding holidays. On-peak period 3 kWh (kilowatt hours) reflects all electricity used during those hours. On-peak period 3 amount reflects the charges associated with that use.
37-Cust-Dmd-KW
38-Cust-Dmd-Chgs
39-Cust-Dmd-Dt
A customer demand is the greatest rate at which electrical energy has been used during any 15-minute interval during the current or preceding 11 periods, or in a calendar year, depending on the rate schedule. If the rate schedule for a service point includes billing customer demand, then the billed 12-month high demand, the date/time that it occurred, and the associated charges are shown. If the demand is not billable, but has been measured, then the highest measured demand and the date/time that it occurred will be displayed for informational purposes only.
40-On-Pk-Dmd-KW
41-On-Pk-Dmd-Chgs
An on-peak demand is the greatest rate at which electrical energy has been used during any 15-minute interval 10am - 9pm, Monday - Friday, excluding holidays during the billing period. If the rate schedule for a service point includes billing on-peak demand, then the billed on-peak demand and associated charges are shown. If the demand is not billable, but has been measured, then the measured on-peak demand will be included for informational purposes only.
42-MGE-Purch-KWH
43-MGE-Purch-Amount
The amount of electricity MGE bought and the price MGE paid those customers not billed for on- and off-peak pricing.
In column 43-MGE-Purch-Amount, which reports the amount of money MGE paid for electricity purchased from you, please note that it includes any fuel cost credits in addition to the amount paid for your excess energy.