## UWSA_ECO-DATA
Agency:
Institution:
BUILDING INFORMATION |  | BUILDING ENVELOPE | [8 empty] | PLUMBING | [18 empty] | HEATING, VENTILATING, AND AIR CONDITIONING | [24 empty] | BUILDING AUTOMATION SYSTEMS AND TEMPERATURE CONTROLS | [20 empty] | LIGHTING AND ELECTRICAL | [11 empty] | FIXED EQUIPMENT | [5 empty] | MOVABLE EQUIPMENT | [8 empty] | ALTERNATIVE ENERGY | [6 empty] | EDUCATION PROGRAMS
Building No. | Building Name | Repair/Replace Window/Door Weatherstripping | Ensure Windows & Doors to Close & Fully Seal | Door Closer Adjustment | Seal Conduit/Pipe/Duct Penetrations | Seal Openings in Building Exterior | Replace Damaged/Inadequate Insulation | Repair Construction, Control & Expansion Joints | Repair Cracked or Broken Windows | Prohibit Blocking Ext. Doors Open | .5-1.0 GPM Lavatory Aerator | 1.5-2.2 GPM Sink Aerator | 2.0-2.5 GPM Showerhead | .5 GPF Urinal | 1.0 GPF Urinal Flushvalve Retrofit | 1.6 GPF Water Closet | 1.25-1.6 GPM Prerinse Sprayhead (Food Service) | Repair Leaky Faucets, Water Closets, Valves, Etc. | Unoccupied Hot Water Recirc. Pump Shutdown | Minimize Booster Pump Pressure Setting/Runtime | VFD Booster Pump Control | Water Heater Heat Traps | Blowdown/Clean Water Heaters & Heat Exchangers | Unoccupied Electric Water Heater Shutdown | Unoccupied Water Cooler Shutdown | Domestic Water/Swimming Pool Solar Preheat | Replace Damaged/Inadequate Pipe/Tank Insulation | Replace Equipment w/ Higher Efficiency Equip. | High Efficiency Motors | Inspect/Repair Damper Seals/Linkages/Operators | Inspect/Repair Valve Seats/Operators | Test/Repair Steam Traps | Blowdown/Clean Strainers | Replace Air Filters & Water Filter Elements | Clean Intake Louvers & Screens | Adjust Motor & Fan Belts | Clean Chiller Waterside Tubes | Clean Cooling Tower Fill, Nozzles, Basins | Clean Boiler Heat Exchange Surfaces | Clean Coil Air & Water Heat Exchange Surfaces | Chemical Treatment for Fouling, Scaling, Corrosion | Analyze Flue Gas & Optimize Fuel-Air Ratio | Adjust Boiler & Cooling Tower Blowdown Cycles | Exhaust Heat Recovery | Flue Gas Heat Recovery | Replace Damaged/Inadequate Pipe/Duct Insulation | Replace Damaged/Inadequate Equipment Insulation | Seal Duct Leaks | Trim Pump Impellers Where Throttled | Reduce Laboratory Air Exchange Rate | Replace Equipment w/ Higher Efficiency Equip. | High Efficiency Motors | Tune Up Chiller Operation | Reduce Air/Water Flow & Rebalance If Feasible | Unoccupied Air Conditioning Shutdown | Unoccupied Pump Shutdown | Unoccupied Zone Shutdown | Unoccupied Fan Shutdown | Unoccupied Setup/Setback of Clg/Htg Temps | Optimized Equipment Start Ups (DSF 23 09 93) | Stagger Startups & Limit Elect/Central Plant Demand | Maximize OA Reset Hot Water/Supply Air/Humidity | Demand Limiting Control Sequences | Reduce Outside Air to Match Occupancy | CO2 Control of Outside Air (DSF 23 09 93) | Adjust Fan/Pump Speed to Minimize Motor BHP | Optimize Lead/Lag Chiller Sequence | Optimize Cooling Tower Fans (DSF 23 09 93) | Floating Drybulb or Enthalpy Economizer (DSF 23 09 93) | 68o/76o Thermostat Settings (Energy Use Standard) | Calibrate Thermostats and Pneumatic Controls | 60o Unoccupied Winter Thermostat Setting | Install and/or Reprogram Setback Thermostats | Compressed Air System Survey & Leak Repair | Adjust Air Compressor Pressure/Review Runtime | Convert Fluorescent T-12 to T-8 Lamps | Convert Magnetic Ballasts to Electronic | 5000 K Lamps to Reduce Number of Lamps | Replace Incandescent w/ Compact Fluorescent | Reduce Lighting Levels to ASHRAE 90.1 | Occupancy Sensor Lighting Controls | LED Exit Lights | Exterior Lighting Photocell/Timer Controls | Reduce Exterior Lighting | Programmable & Daylighting Controls | Energy Star Transformers | Task Lights in Lieu of General Lighting | Reduce Number of Laboratory Fume Hoods | Close Fume Hood Sashes When Not In Use | Eliminate Unnecessary Process Equipment | Automated Process Equipment Shutdown | Reduce Preheat/Run Times (Kilns, Sterilizers, Ovens) | High Efficiency Motors | Eve/Weekend Turn Off PC's, Printers, Copiers | Energy Star Office Equipment and Appliances | Sleep Mode On PC's, Printers, Copiers, FAXs | Occupancy Sensor Power Strips on Equipment | Energy Star Vending Machines | Vending Machine Energy Reduction Devices | Eliminate Individual Space Heaters, Humidifiers, etc. | Eliminate Individual Coffee Makers, Hot Plates, etc. | Centralize Refrigerators, Microwaves, etc. | Wood Waste | Agricultural Waste | Landfill Gas | Cogeneration | Geothermal | Wind | Photovoltaic | Turn Off Lighting & Equipment When Not in Use | Use Window Blinds When Air Conditioning | Close Windows When Heating or Air Conditioning | Keep Passage & Overhead Doors Closed | 68o/76o Thermostat Settings (Energy Use Standard) | Promote Use of Stair in Lieu of Elevator | Communications - Newsletters, Posters, E-Mails
285-0X-8888X | SAMPLE BUILDING NAME | C | C | C | P | P | P | P | C | C | P | P | P | P | P | P | C | C | C | P | P | P | P | P | P | P | C | P | P | C | C | C | C | C | C | C | C | C | P | P | P | P | P | P | P | C | C | P | P | P | P | P | C | P | P | P | P | P | P | P | P | P | P | P | C | P | P | C | C | C | C | P | C | P | P | C | C | C | C | C | C | C | C | P | C | C | P | P | C | P | P | P | P | P | P | C | P | P | P | P | P | P | P | P | P | P | P | P | C | C | C | C | C | C | P | P
#NAME?